# 1.1 INTRODUCTION

**CHAPTER – 1 INTRODUCTION TO PROJECT**

Traditionally, health monitoring was confined to medical facilities where specialized equipment and trained professionals were required to measure and interpret vital signs. However, with the advent of miniaturized sensors, advanced data processing technologies, and wireless connectivity, personal health monitoring has become more accessible and user-friendly. Today, individuals can monitor their health metrics independently using portable devices that offer accurate measurements and real-time feedback.

Blood oxygen saturation (SpO2) is a critical indicator of respiratory and circulatory health. It measures the percentage of oxygen bound to hemoglobin in the bloodstream, reflecting the efficiency of oxygen delivery to the body's tissues. Low SpO2 levels can indicate conditions such as respiratory disorders (e.g., asthma, chronic obstructive pulmonary disease) or circulatory problems (e.g., heart failure, pulmonary embolism), necessitating timely medical intervention.

Heart rate (BPM) measures the number of times the heart beats per minute and provides insights into cardiovascular function, physical exertion, and overall fitness levels. Monitoring heart rate variations helps individuals understand their body's response to activities, stressors, and potential cardiac abnormalities. Both SpO2 and BPM are pivotal metrics that contribute to a comprehensive understanding of one's health status and facilitate informed decisions regarding lifestyle adjustments and healthcare management.

The primary objective of this project is to design and implement a smart blood oxygen and heart rate monitor with the following key features:

**Real-Time Monitoring:** Continuously monitor and display accurate SpO2 and BPM readings in real-time.

**User-Friendly Interface:** Incorporate an intuitive interface, such as an OLED display, to present health metrics clearly and comprehensively.

**Wireless Connectivity:** Enable seamless data transmission via Bluetooth technology for remote monitoring and analysis on smartphones or computers.

**Automatic Data Saving:** Implement a system for automatic storage of health data, ensuring secure and convenient access for users and healthcare providers.

The project integrates several essential components to achieve its objectives:

**Arduino Uno:** Serving as the central processing unit (CPU), Arduino Uno controls data acquisition, processing, and system operation.

**MAX30100 Sensor:** A versatile sensor capable of pulse oximetry and heart rate monitoring, offering high accuracy and reliability.

**Bluetooth HC-05 Module:** Facilitates wireless communication for real-time data transmission to external devices.

**OLED Display (SSD1306):** Provides a clear and immediate display of SpO2 and BPM readings for user interaction.

**Wires and Connectors:** Essential for establishing connections between components, ensuring robust data and power transmission within the system.

The implementation of the project involves integrating hardware components and developing software functionalities to create a functional prototype of the smart health monitor. The MAX30100 sensor utilizes photoplethysmography (PPG) to emit light into the skin and measure the absorption of light by oxygenated and deoxygenated hemoglobin. Arduino Uno processes the sensor data, calculates SpO2 and BPM values, and controls the OLED display for real-time visualization.

The OLED display presents SpO2 and BPM readings in a clear and understandable format, providing immediate feedback to users. The Bluetooth HC-05 module enables wireless data transmission, allowing users to monitor their health remotely via a smartphone application or transmit data to healthcare providers for consultation and analysis.

Automatic data saving functionality ensures that health metrics are securely stored either locally on the device or in cloud storage. This feature not only facilitates longitudinal data analysis for users but also supports healthcare professionals in remotely monitoring patients' health trends and making informed medical decisions.

By the conclusion of this project, the aim is to deliver a fully functional prototype of the smart blood oxygen and heart rate monitor. The device is expected to empower individuals with actionable insights into their health status, enabling early detection of potential health issues and

supporting proactive health management. Furthermore, the integration of advanced technologies in health monitoring underscores the project's potential to enhance healthcare delivery, improve patient outcomes, and promote a proactive approach to personal well-being.

In conclusion, the development of a smart blood oxygen and heart rate monitor with automatic data saving capabilities represents a significant advancement in personal health monitoring

technology. By leveraging state-of-the-art sensors, wireless communication, and user-friendly interfaces, this project aims to empower individuals with accessible and accurate health information. Ultimately, the integration of such innovative solutions has the potential to transform how individuals monitor and manage their health, fostering a healthier and more informed society.

This project not only showcases the feasibility of integrating advanced technologies into healthcare solutions but also highlights the potential impact of empowering individuals to take proactive measures towards their well-being. As technology continues to evolve, these advancements will continue to shape the future of personal health monitoring, offering new opportunities for improving health outcomes and quality of life.

* 1. **Understanding Blood Oxygen Level Importance of Blood Oxygen Level**

# CHAPTER – 2 THEORITICAL BACKGROUND

Blood oxygen level is a measure of how much oxygen your blood is carrying. Oxygen is vital for our bodies because it fuels our cells and organs, helping them to perform their functions. When you breathe in, your lungs take in oxygen, which is then transferred to your blood. This oxygen- rich blood travels through your body, delivering oxygen to your tissues and organs.

A normal blood oxygen level is between 95% and 100%. This percentage refers to the amount of oxygen your red blood cells are carrying compared to the maximum amount they could carry. If your blood oxygen level drops below this range, it means your body isn't getting enough oxygen, which can cause various health problems.

## Measurement of Blood Oxygen Level

There are two main ways to measure blood oxygen levels:

* + - **Pulse Oximeter:** This is a small, non-invasive device that you clip onto your fingertip or earlobe. It shines a light through your skin and measures how much light is absorbed by the blood. This absorption tells the device how much oxygen is in your blood. Pulse oximeters are widely used because they are easy to use and provide quick results. They are commonly used in hospitals, clinics, and even at home.
    - **Arterial Blood Gas (ABG) Test:** This is a more precise but invasive method. A healthcare provider draws blood from an artery, usually in your wrist. This blood sample is then analyzed in a lab to measure oxygen levels, carbon dioxide levels, and other important factors. ABG tests provide a very accurate measurement but are usually only done in medical settings because they are more complex and require a blood draw.

## Relevance to Health

Monitoring blood oxygen levels is crucial for several reasons:

* + - **Cell Function:** Every cell in your body needs oxygen to work properly. Without enough oxygen, cells can't produce the energy they need, which can lead to cell damage and impaired organ function.
    - **Detecting Respiratory Issues:** Low blood oxygen levels can indicate problems with your lungs or respiratory system, such as asthma, chronic obstructive pulmonary disease (COPD), pneumonia, or COVID-19.
    - **Heart Health:** Oxygen levels can also reflect how well your heart is pumping blood. Conditions like heart failure can lead to reduced oxygen levels because the heart can't pump blood effectively.
    - **General Well-being:** Keeping an eye on your blood oxygen levels can help you detect and respond to health issues early, ensuring you get the necessary medical attention promptly.

## Understanding Heart Rate Importance of Heart Rate

Heart rate is the number of times your heart beats per minute (bpm). Your heart rate is a simple yet powerful indicator of your overall health and fitness. The normal resting heart rate for adults ranges from 60 to 100 bpm. However, this range can vary based on age, fitness level, and individual health conditions.

A lower resting heart rate generally indicates better cardiovascular fitness and efficient heart function. For instance, well-trained athletes often have resting heart rates below 60 bpm because their hearts are more efficient at pumping blood.

## Measurement of Heart Rate

There are several ways to measure your heart rate:

* + - **Manual Pulse Check:** You can check your pulse by placing two fingers (usually your index and middle fingers) on your wrist or neck. Count the number of beats you feel in 15 seconds and multiply by four to get your heart rate in bpm. This method is simple but requires you to be still and count accurately.
    - **Electronic Monitors:** Devices like heart rate monitors, fitness trackers, and smartwatches can measure your heart rate continuously. These devices use sensors that detect blood flow and heartbeats, providing real-time data on your heart rate. They are convenient, accurate, and can track your heart rate during various activities, such as exercise, rest, and sleep.

## Relevance to Health

Monitoring your heart rate is important for several reasons:

* + - **Indicator of Health:** A normal resting heart rate indicates that your heart is functioning well. If your heart rate is consistently outside the normal range, it could signal health issues that need medical attention. For example, a very high heart rate (tachycardia) or a very low heart rate (bradycardia) could indicate problems with your heart's electrical system or other health conditions.
    - **Fitness Levels:** Monitoring your heart rate during exercise can help you understand your fitness level and how hard your heart is working. It can also help you optimize your workouts by ensuring you are exercising within your target heart rate zone, which maximizes the benefits of your exercise.
    - **Stress and Recovery**: Heart rate can reflect your stress levels and how well your body is recovering after physical activity. For example, a high resting heart rate can indicate stress, illness, or overtraining, while a low resting heart rate and quick recovery after exercise suggest good cardiovascular fitness and overall health.

# TITLE OF THE PROJECT

**CHAPTER – 3 PROJECT DESCRIPTION**

The project titled "Automated Smart Health Monitoring Device for Blood Oxygen and Heart Rate" aims to develop a smart monitor that makes it simple to check blood oxygen levels and heart rate. It uses advanced sensors and wireless technology to give real-time updates. The monitor automatically saves data, making it convenient to track your health. Designed for ease of use, it aims to improve how people monitor and manage their health effectively. With a focus on user- friendly design and secure data handling, the device aims to revolutionize personal health monitoring by offering reliable insights and promoting proactive healthcare management. This project is committed to leveraging technology to enhance health outcomes through accessible and efficient monitoring solutions.

# OBJECTIVES OF PROJECT

* + - **Develop Advanced Health Monitor:** Create a device that uses modern sensors and wireless technology to monitor blood oxygen levels and heart rate accurately and continuously.
    - **Automate Data Management:** Design the device to automatically save health data, making it easy for users to track and manage their health without manual effort.
    - **Ensure Accuracy and Reliability:** Through thorough testing, ensure that the device provides reliable and precise measurements of blood oxygen and heart rate that meet medical standards.
    - **Design User-Friendly Interface:** Create an intuitive interface that simplifies interaction with the device, ensuring users can easily understand and navigate its features.
    - **Implement Secure Data Handling:** Implement strong security measures to protect user data both during storage and transmission, ensuring privacy and confidentiality.
    - **Provide Actionable Insights:** Offer meaningful insights and trends based on collected data, empowering users to make informed decisions about their health and well-being.
    - **Enable Integration with Health Systems:** Allow seamless integration with existing health platforms and applications, facilitating data sharing and compatibility for comprehensive health management.
    - **Drive Continuous Improvement:** Stay updated with technological advancements and gather user feedback to continuously enhance the device's capabilities and user experience.
    - **Support Personalized Healthcare:** Customize alerts and notifications based on individual health data, supporting personalized health monitoring and proactive management.

# 3.3 DESCRIPTION

Our project is centered around creating an advanced health monitoring device that simplifies the process of tracking two vital health indicators: blood oxygen levels and heart rate. This device will utilize cutting-edge technology, including specialized sensors and wireless connectivity, to provide continuous and accurate updates on these important metrics. One of the standout features of our device is its automatic data management system. This means that once you use the device to monitor your health, it will automatically save all the data it gathers. This removes the hassle of manually recording measurements and ensures that your health information is readily accessible whenever you need it.

We're putting a lot of effort into making sure that our device is user-friendly. This involves designing an intuitive interface that anyone can easily navigate, regardless of their technical expertise. Our aim is to make monitoring your health as straightforward as possible, so you can focus more on understanding your health data and less on figuring out how to use the device.

Data security is also a top priority for us. We're implementing robust measures to protect your personal health information. This includes secure storage of data and encryption during transmission, so you can feel confident that your privacy is safeguarded all times. Beyond just collecting data, our device will provide actionable insights based on the information it gathers. These insights will help you understand trends in your health metrics over time and empower you to make informed decisions about your well-being.

Additionally, our device will be designed to seamlessly integrate with other health systems and applications. This means you'll be able to share your health data with healthcare providers or sync it with other health management tools you might already use, enhancing the overall effectiveness of your health monitoring.

Overall, our project is dedicated to enhancing personal health monitoring by leveraging advanced technology in a way that is accessible, reliable, and empowering. We're committed to making it easier for individuals to take control of their health and live healthier lives.

Our goal is to make personal health monitoring more convenient and reliable. By providing useful insights based on your health data and making it easy to connect with other health tools you might already use, we want to help you take charge of your health in a way that's simple and effective.

# CHAPTER – 4 SYSTEM DESIGN AND ARCHITECTURE

* 1. **SOFTWARE REQUIREMENT FOR SYSTEM**

### Arduino IDE:

* + - * Use Arduino Integrated Development Environment (IDE) for programming Arduino Uno.
      * Version compatibility: Arduino IDE 1.8.13 or later.

### Sensor Library:

* + - * Utilize the MAX30100 sensor library to interface with the sensor and read blood oxygen (SpO2) and heart rate (HR) data.
      * Library version: MAX30100 library 1.3.0 or compatible.

### Bluetooth Communication:

* + - * Implement Serial Bluetooth communication protocols (e.g., UART) to enable data transmission between Arduino Uno and external devices.
      * Use Software Serial library for HC-05 module interfacing.
      * Library version: Software Serial library bundled with Arduino IDE.

### Display Library:

* + - * Integrate the Adafruit SSD1306 OLED display library to control and display real- time SpO2 and HR readings.
      * Library version: Adafruit SSD1306 library 2.4.0 or compatible.

### Data Processing Algorithms:

* + - * Develop algorithms to process raw sensor data and compute SpO2 and HR values.
      * Implement calibration routines if required for accurate measurements.

### User Interface (UI) Design:

* + - * Design UI on OLED display to show SpO2, HR readings, and status indicators (e.g., Bluetooth connectivity).
      * Ensure UI elements are clear, readable, and user-friendly.

### Data Logging and Storage:

* + - * Implement routines to log and store health data locally on Arduino Uno.
      * Use EEPROM or external storage options (e.g., SD card) for storing historical data.

### Error Handling and Debugging:

* + - * Include error handling mechanisms to manage sensor errors, communication failures, or data inconsistencies.
      * Provide debugging tools (e.g., serial monitor) for troubleshooting during development and testing.

### Power Management:

* + - * Optimize software to manage power consumption effectively, considering the device's operational lifespan on the available power source.

### Documentation:

* + - * Prepare comprehensive software documentation detailing libraries used, algorithms implemented, and instructions for setup, configuration, and troubleshooting.

# HARDWARE REQUIREMENT FOR THE SYSTEM

### Arduino Uno:

* + - * Microcontroller board for interfacing with MAX30100 sensor, Bluetooth module, and OLED display.
      * Version: Arduino Uno R3 or compatible.

### MAX30100 Sensor:

* + - * Pulse oximeter and heart rate sensor module for measuring SpO2 and HR.
      * Ensure compatibility with Arduino Uno.

### HC-05 Bluetooth Module:

* + - * Bluetooth 2.0 module for wireless data transmission between Arduino Uno and external devices.
      * Verify compatibility with Arduino Uno and Software Serial library.

### OLED Display (SSD1306):

* + - * 0.96-inch or similar size OLED display for visualizing health data.
      * Use I2C communication interface for connecting with Arduino Uno.

### Power Supply:

* + - * Provide adequate power supply to Arduino Uno and components (5V DC).
      * Consider power requirements of OLED display and sensor module.

### Connecting Wires:

* + - * Use jumper wires and connectors for connecting Arduino Uno with MAX30100 sensor, HC-05 module, and OLED display.

### Enclosure (Optional):

* + - * Consider an enclosure for housing the assembled device, ensuring protection and durability.

### Tools:

* + - * Basic tools for assembly, such as soldering iron, screwdrivers, and multimeter for testing and troubleshooting.

### External Storage (Optional):

* + - * If implementing data logging to external storage (e.g., SD card), ensure compatibility and integration with Arduino Uno.

### Breadboard or PCB(Optional):

* + - * Use breadboard or design a PCB layout for assembling and testing the hardware components.

# HARDWARE COMPONENTS

## Arduino Uno

The Arduino Uno is like the brain of our health monitoring device project. It's a small computer called a microcontroller that we use to control everything. It has pins where we can connect different parts, like sensors and displays. The Arduino UNO control board is a single chip microcomputer with a microcontroller, comprising of digital input and output pins, analog input ports, USB access ports, power interface, data ICSP interface, reset button, and a 16 MHz quartz crystal oscillator.

## Key Features:

* + - **Easy to Program:** We use a computer and special software called Arduino IDE to write instructions (code) for the Arduino Uno. It's designed to be simple, even if you're new to programming.
    - **Connects Everything Together:** The Arduino Uno has pins where we connect wires from components like the MAX30100 sensor for measuring blood oxygen and heart rate, the HC-05 Bluetooth module for wireless communication, and the OLED display (like the SSD1306) for showing data.
    - **Controls Sensors and Displays:** With the Arduino Uno, we can tell the sensors to take readings (like your heart rate and oxygen level), process that data, and then display it on the OLED screen in a way that's easy for you to read.
    - **Customizable:** We can add more features or change how it works by writing new code and connecting different sensors or displays. This flexibility helps us improve and expand the device based on what users need.



Fig.4.1; Arduino Uno

## Max 30100 sensor

* + - The MAX30100 chip offers an I2C compatible communication interface, allowing external devices to communicate and transfer a pulse wave signal to a microcontroller via an I2C digital signal. Fig. Max30100 sensor. The MAX30100 sensor is a key component in our health monitoring project. It's designed to measure two important health indicators: blood oxygen levels (SpO2) and heart rate (HR).

## Key Features:

* + - **Pulse Oximetry:** The sensor uses a method called pulse oximetry to measure SpO2. It shines a light through your skin and detects how much oxygen is in your blood based on the light absorbed.
    - **Heart Rate Monitoring:** It also detects your heart rate by measuring the changes in blood volume in your capillaries with each heartbeat.
    - Integrated Red and IR LEDs: The MAX30100 has built-in red and infrared LEDs that emit light into your skin. These LEDs are essential for accurately measuring SpO2 and HR.
    - **Photodetector:** It includes a photodetector that captures the light that passes through your skin. By analyzing how much light is absorbed or reflected, it calculates your SpO2 and HR.
    - **I2C Interface:** It communicates with the Arduino Uno microcontroller using the I2C (Inter-Integrated Circuit) protocol, allowing for easy integration into our project.
    - **Compact Size:** The sensor is small and compact, making it suitable for wearable health devices.



Fig.4.2; Max 30100 sensor

## OLED Display (SSD 1306)

* + - OLED Display Choose a suitable OLED display for presenting real-time data, providing a clear and user-friendly interface for monitoring. The SSD1306 is a single-chip monochrome OLED graphic display. Its screen is 128 pixels wide and 64 pixels deep (128x64).
    - The OLED display (SSD1306) is a small screen that shows important health information in our project. It uses a special kind of technology called OLED, which stands for Organic Light-Emitting Diode. This type of display is known for its bright and clear visibility, even in different lighting conditions.
    - In our device, the OLED display will show real-time measurements of your blood oxygen levels (SpO2) and heart rate (HR). It does this by using simple graphics and numbers that are easy to read. This display is connected to the Arduino Uno, the brain of our device, and it shows updates instantly.
    - The SSD1306 OLED display is chosen because it is compact, energy-efficient, and works well with Arduino boards like the Arduino Uno. Its simplicity and clarity make it perfect for displaying health data clearly, allowing users to monitor their health easily and effectively.




Fig.4.3; OLED Display(SSD 1306)

## Bluetooth HC-05 Module

* + - The Bluetooth HC-05 module is a wireless communication device that allows your project to connect to other devices, such as smartphones or computers, via Bluetooth. This enables the transfer of health data (blood oxygen levels and heart rate) from your Arduino-based.

## Key Features:

### Wireless Communication:

* + - * The HC-05 module enables the Arduino Uno to send health data wirelessly to other Bluetooth-enabled devices.
      * This makes it easy to monitor your health metrics in real-time on a smartphone or computer without needing a wired connection.

### Easy to Use:

o The HC-05 is designed to be easy to connect to the Arduino. It uses a simple serial communication protocol (UART), which is straightforward to program using the Arduino IDE.

### Range and Reliability:

* + - * The HC-05 module can reliably transmit data over a distance of up to 10 meters (about 30 feet) in open space.
      * This allows you to move around while still receiving continuous health data updates on your device.

### Compatibility:

* + - * The HC-05 works well with the Arduino Uno and can be integrated with the MAX30100 sensor and the OLED display.

### Low Power Consumption:

* + - * The module operates with low power, making it suitable for battery-operated health monitoring devices, ensuring longer operation times.




Fig.4.4; HC-05 Module

# C LANGUAGE USED IN PROJECT

The C programming language is essential for developing the software that runs on the Arduino Uno microcontroller in your health monitoring project. It allows you to write efficient and compact code to control the MAX30100 sensor, manage data processing, handle Bluetooth communication, and display information on the OLED display.

## Key Aspects and Usage:

### Microcontroller Programming:

* + - * C is the primary programming language used for programming microcontrollers like Arduino Uno.
      * It provides low-level control over hardware components such as GPIO pins, UART (for serial communication), and I2C (for communication with the OLED display and MAX30100 sensor).

### Sensor Interfacing:

* + - * C is used to interface with the MAX30100 sensor to read raw data (e.g., infrared and red light intensity) and process it to compute blood oxygen levels (SpO2) and heart rate (HR).
      * You'll write functions to initialize the sensor, configure its settings, and retrieve sensor data.

### Data Processing Algorithms:

* + - * Algorithms for signal processing and calculations (e.g., averaging, filtering) to extract accurate SpO2 and HR values from the sensor's raw data are implemented in C.
      * These algorithms ensure the reliability and accuracy of health measurements displayed on the OLED screen and transmitted via Bluetooth.

### Bluetooth Communication:

* + - * C is used to implement the software interface for the HC-05 Bluetooth module on the Arduino Uno.
      * You'll write code to establish a serial communication link (UART) between the Arduino and external devices, enabling the transmission of health data.

### Display Management:

* + - * C code manages the OLED display (SSD1306) by sending commands and data via the I2C interface.
      * You'll write functions to initialize the display, draw text and graphics, and update the display with real-time health metrics.

### Memory and Efficiency:

* + - * C allows you to optimize memory usage and program efficiency, crucial for microcontroller-based projects with limited resources (like RAM and program memory).

## Benefits of Using C:

* + - **Speed and Efficiency:** C is known for its speed and efficiency in executing code, making it suitable for real-time data processing and responsiveness required in health monitoring applications.
    - **Low-Level Control:** Provides direct control over hardware peripherals and registers, enabling precise manipulation and interfacing with sensors and external devices.
    - **Portability:** Code written in C for Arduino Uno can often be adapted for othermicrocontroller platforms, enhancing project flexibility.

## Challenges:

* + - **Learning Curve:** Requires understanding of low-level hardware interactions and memory management, which may have a steeper learning curve compared to higher-level languages.
    - **Debugging:** Debugging can be more challenging due to limited debugging tools available for microcontroller environments compared to desktop development.



Fig.4.5;C Language logo

# METHODOLOGY OF PROJECT

* + - **Planning:**

# CHAPTER – 5 METHODOLOGY

* + - * Define the project's goals: Monitor blood oxygen levels and heart rate and send this data wirelessly to other devices.
      * Gather necessary components: Arduino Uno, MAX30100 sensor, HC-05 Bluetooth module, and OLED display.

### Setting Up the Hardware:

* + - * Connect the MAX30100 sensor to the Arduino Uno to measure blood oxygen and heart rate.
      * Connect the OLED display to the Arduino Uno to show the health data.
      * Connect the HC-05 Bluetooth module to the Arduino Uno to send data wirelessly.

### Writing the Software:

* + - * **Sensor Code:** Write code to read data from the MAX30100 sensor. This involves initializing the sensor, reading the raw data, and calculating the blood oxygen levels and heart rate.
      * **Display Code:** Write code to control the OLED display. This involves sending commands to the display to show the health data in a clear format.
      * **Bluetooth Code:** Write code to manage the HC-05 Bluetooth module. This involves setting up the Bluetooth connection and sending the health data to a paired device like a smartphone or computer.
      * **Data Processing:** Develop algorithms in the code to process the raw sensor data and convert it into readable health metrics.

### Testing and Calibration:

* + - * **Individual Component Testing:** Test each component separately (sensor, display, Bluetooth) to ensure they work correctly.
      * **Integration Testing:** Combine all components and test the entire system to ensure everything works together smoothly.
      * **Calibration:** Calibrate the sensor to ensure accurate readings. This might involve comparing the sensor data to a known standard or reference device.

### Debugging and Optimization:

* + - * **Debugging:** Fix any issues or bugs found during testing. Use tools like the serial monitor in the Arduino IDE to troubleshoot problems.
      * **Optimization:** Improve the code to make it more efficient, ensuring that the device runs smoothly and conserves power.

### Documentation:

* + - * Create detailed documentation that explains how the device works, how to set it up, and how to use it. Include instructions for assembling the hardware, loading the software, and troubleshooting common issues.


### Final Testing and Deployment:

* + - * Conduct final tests to ensure the device is reliable and accurate.
      * Deploy the device for real-world use, ensuring it consistently provides accurate health data and transmits it correctly via Bluetooth.

### User Feedback and Improvement:

* + - * Collect feedback from users to understand their experience and any issues they encounter.
      * Use this feedback to make further improvements to the device and software.

# BLOCK DIAGRAM OF THE PROJECT



Fig,5.1;Block diagram of the project

## Explanation of Block Diagram

This block diagram shows a simple system using an Arduino Uno to monitor and display health data. Here’s an easy explanation of each part:

* + - **Oxygen Level Sensor**: This sensor measures the amount of oxygen in the blood.
    - **Heartbeat Sensor**: This sensor detects and measures the heartbeat of a person.
    - **Power Supply**: This provides the necessary electrical power for the whole system to work.
    - **Arduino Uno**: This is the main controller or "brain" of the system. It receives data from the sensors and then processes it.
    - **LCD Display**: This screen shows the information, like oxygen levels and heart rate, so it can be easily read.
    - **WiFi Module**: This component allows the system to connect to the internet.
    - **IoT (Internet of Things)**: This means the system can send data to the internet, where it can be accessed remotely.

### Here’s how it works:

* + - The oxygen level sensor and heartbeat sensor collect health data from a person.
    - The power supply ensures the Arduino and other components have power.
    - The Arduino Uno receives the data from the sensors, processes it, and then sends the information to the LCD display so it can be read directly.
    - The WiFi module sends the data to the internet (IoT), allowing it to be monitored from anywhere with an internet connection.

This system is useful for real-time health monitoring and remote access to health data.

# FLOW CHART OF PROJECT




Fig.5.2;Flow Chart

## Explanation of Flow Chart:

### Start:

* + - * This is the beginning of the process. It indicates the start of the health monitoring device.

### Initialize the Sensor:

* + - * The device first sets up the sensor (MAX30100) to get it ready for taking measurements. This involves turning on the sensor and making sure it's functioning properly.

### Finger:

* + - * This step indicates that the user needs to place their finger on the sensor. The sensor needs to be in contact with the user's skin to measure blood oxygen levels and heart rate.

### Read Data from the Sensor:

* + - * Once the finger is placed on the sensor, the device starts reading the data. The sensor collects information about the blood oxygen level and heart rate from the user's finger.

### Display the Reading on the LCD Display:

* + - * The device shows the measured blood oxygen level and heart rate on the OLED display. This allows the user to see their health metrics in real-time.

### Send the Data through Wi-Fi Device:

* + - * In this step, the device sends the health data wirelessly to another device, like a smartphone or computer, using a Wi-Fi module. (In your project, this step would be done using the Bluetooth HC-05 module instead of Wi-Fi.)

**CHAPTER-6**

**RESULTS AND DISCUSSIONS**

**6.1 Presentation of Data**

In this chapter, we will present and discuss the data collected from our Smart Blood Oxygen and Heart Rate Monitor with Automatic Data Saving System. The data was collected, processed, and transmitted using the components described earlier: the Arduino Uno, MAX30100 sensor, OLED display SSD1306, and Bluetooth HC-05 module.

### Data Collection Process

We monitored several users' blood oxygen levels and heart rates continuously over different periods. Each reading was displayed in real-time on the OLED screen and transmitted via Bluetooth to a paired device, where the data was saved automatically. Here is a summary of the collected data:

**User 1:** Monitored for 7 days, 3 times a day (morning, afternoon, evening)

**User 2:** Monitored for 5 days, 4 times a day (morning, late morning, afternoon, night)

**User 3:** Monitored for 10 days, 2 times a day (morning and evening)

The data was recorded and averaged to provide clear insights into each user's health metrics.

### Example Data Presentation

Below is an example table summarizing the average daily readings for one user:

|  |  |  |
| --- | --- | --- |
| **Day** | **Blood Oxygen Level (%)** | **Heart Rate (bpm)** |
| 1 | 97 | 72 |
| 2 | 96 | 70 |
| 3 | 98 | 68 |
| 4 | 97 | 74 |
| 5 | 96 | 69 |
| 6 | 97 | 71 |

Table.6.1;Daily Reading of one User

## 6.2 Analysis of Results

The analysis of the collected data helps us understand the effectiveness of our monitoring system and the health status of the users.

### Blood Oxygen Levels

The average blood oxygen levels for the users were consistently within the normal range (95% to 100%). This indicates that the users were getting sufficient oxygen and their respiratory functions were working properly. Here are some key observations:

**User 1:** Blood oxygen levels remained stable between 96% and 98%, indicating good lung function and efficient oxygen uptake.

**User 2:** Showed a slight variation, with levels between 95% and 97%. This variation could be due to different activity levels or slight respiratory changes throughout the day.

**User 3:** Maintained a consistent level of 97%, showing good overall respiratory health.

### Heart Rates

The heart rate data varied more significantly between users, reflecting differences in fitness levels, daily activities, and overall cardiovascular health. Here are some detailed observations:

**User 1:** Had a resting heart rate averaging around 70 bpm, which is within the normal range and indicates good cardiovascular health.

**User 2:** Displayed a higher average heart rate of 75 bpm, which could suggest a lower fitness level or higher daily stress levels.

**User 3:** Had the lowest average resting heart rate of 68 bpm, indicating good cardiovascular fitness and efficient heart function.

### Variations and Patterns

We observed some daily variations in both blood oxygen levels and heart rates:

* **Time of Day:** Blood oxygen levels were slightly higher in the mornings, possibly due to the body's rest and recovery during sleep.
* **Physical Activity:** Heart rates were higher during periods of physical activity and lower during rest, which is expected.

## 6.3 Comparison with Expected Outcomes

Our project's goal was to provide accurate and reliable monitoring of blood oxygen levels and heart rates, with automatic data saving for easy tracking and analysis. Here’s how our results compared with the expected outcomes:

### Accuracy and Reliability

* **Expected:** High accuracy in measurements, stable performance of the sensors, and reliable data transmission.
* **Achieved:** The MAX30100 sensor provided consistent and accurate readings. The Arduino Uno processed the data effectively, and the OLED display presented real-time information clearly. The Bluetooth module successfully transmitted data to paired devices without significant issues.

### Expected: Easy-to-use system with real-time monitoring and automatic data saving.

* **Achieved:** Users found the system easy to set up and use. The real-time display on the OLED screen was clear and helpful. The automatic data saving feature worked well, allowing users to review their health metrics over time without manual recording.

### Health Insights

* **Expected:** Useful insights into users' blood oxygen levels and heart rates, helping them monitor their health.
* **SAchieved:** The data collected provided valuable insights into the users' health. For instance, it helped identify daily patterns and variations, which can be important for understanding overall health and detecting potential issues early.

# OUTPUT



**6.4 WORKING**

Fig.6.2; Real-Time Monitoring and Data Display System

Two LEDs are built into the device; one emits red light, while the other emits infrared light. Red and infrared lights are used to measure blood oxygen levels, whereas the infrared light is used only to measure pulse rate. The variation in oxygenated blood volume caused by the heart's contractions

and expansions influences how these light waves are absorbed. While red light is absorbed and more infrared light is allowed to pass through, deoxygenated blood absorbs more red light and allows more infrared light to flow through. The MAX30100 sensor is essential in that it records the absorption levels for both light sources and stores them in a buffer that can be accessed using I2C connection. Learn about the MAX30100 sensor from the datasheet, install the Arduino IDE, then libraries, assemble parts in accordance with schematics, then create Arduino code to read PPG data in real time and show it on an OLED. Provide an intuitive interface for heart rate and blood oxygen levels, incorporate an alarm system for unusual values, and allow for optional data logging. Provide clear user instructions, offer features and applications, test thoroughly, calibrate, test again, improve the code and user interface in response to criticism, thoroughly document the project, and show off real-time monitoring capabilities.

**CHAPTER-7**

**APPLICATIONS AND ADVANTAGES**

**7.1 APPLICATIONS**

Our Smart Blood Oxygen and Heart Rate Monitor project can be used in many practical ways. Here are some simple and clear points explaining its applications:

### Home Health Monitoring

* + - * Allows individuals to regularly check their heart rate and blood oxygen levels at home.
      * Helps in early detection of potential health issues without needing to visit a doctor.

### Fitness Tracking

* + - * Useful for athletes and fitness enthusiasts to monitor their heart rate during workouts.
      * Helps in optimizing exercise routines by tracking cardiovascular performance.

### Patient Monitoring

* + - * Can be used in hospitals or clinics to continuously monitor patients’ vital signs.
      * Provides real-time data to healthcare professionals for better patient care.

### Remote Health Monitoring

* + - * Ideal for elderly or chronically ill patients who need constant health monitoring.
      * Data can be sent to healthcare providers remotely, reducing the need for frequent hospital visits.

### Emergency Situations

* + - * Provides immediate readings of heart rate and oxygen levels in emergency scenarios.
      * Useful for first responders to assess a person's health condition quickly.

### Sleep Studies

* + - * Helps in tracking heart rate and blood oxygen levels during sleep.
      * Can be used in sleep studies to identify conditions like sleep apnea.

### Research and Development

* + - * Beneficial for researchers studying heart rate and blood oxygen levels in various conditions.
      * Provides accurate and real-time data for scientific analysis.

### Personal Health Awareness

* + - * Empowers individuals to be more aware of their heart health and overall well-being.
      * Encourages proactive health management and lifestyle changes based on the data.

# ADVANTAGES

### Real-Time Monitoring:

* + - * Provides instant heart rate and blood oxygen level readings.
      * Helps users understand their current health status immediately.

### User-Friendly:

* + - * Easy to use with a simple fingertip placement on the sensor.
      * Clear and bright OLED display for easy reading of health metrics.

### Accurate Measurements:

* + - * Uses the MAX30100 sensor, which is reliable for measuring heart rate and blood oxygen levels.
      * Ensures precise data for better health monitoring.

### Automatic Data Saving:

* + - * Saves data automatically through the Bluetooth module.
      * Allows users to track their health metrics over time without manual recording.

### Wireless Data Transmission:

* + - * Bluetooth HC-05 module enables wireless data transfer to paired devices.
      * Facilitates easy storage and analysis of health data on smartphones or computers.

### Portable and Compact:

* + - * Small and lightweight, making it easy to carry and use anywhere.
      * Ideal for continuous monitoring at home or on the go.

### Health Insights:

* + - * Helps detect early signs of health issues through continuous monitoring.
      * Encourages proactive health management and timely medical intervention if needed.

### Improved Health Awareness:

* + - * Empowers users with knowledge about their vital signs.
      * Promotes better understanding and management of personal health.

**CHAPTER-8**

**CONCLUSION AND FUTURE SCOPE**

**8.1 CONCLUSION**

In conclusion, our Smart Blood Oxygen and Heart Rate Monitor project successfully created a reliable and easy-to-use system for monitoring vital health metrics. Using the MAX30100 sensor, Arduino Uno, OLED display, and Bluetooth module, the device accurately measures and displays

heart rate and blood oxygen levels in real-time. The data is automatically saved, making it easy to track and review. This project helps users maintain their health by providing instant feedback and empowering them to make informed decisions. While we achieved our goals, future improvements like better connectivity, more sensors, and a dedicated mobile app could make the system even more useful. The Internet of Things (IoT) is crucial in modern healthcare, particularly in smart blood oxygen and heart rate monitoring. It allows doctors to remotely monitor vital parameters, store them in the cloud, and display them on an OLED display. This data is then transmitted to a medical server for diagnosis and can be stored in an application for future reference.

# FUTURE SCOPE

### Integration with Mobile Apps:

* + - * Develop a mobile app that syncs with the device to store and analyze data.
      * Allow users to track their health metrics over time and get notifications for abnormal readings.

### Enhanced Data Analytics:

* + - * Implement advanced algorithms to provide more detailed insights and trends in the collected data.
      * Use machine learning to predict potential health issues based on historical data.

### Improved Sensor Accuracy:

* + - * Upgrade the sensor technology to enhance the accuracy and reliability of heart rate and blood oxygen measurements.

### Additional Health Metrics:

* + - * Incorporate additional sensors to monitor other vital signs like body temperature, blood pressure, and respiratory rate.

### Wearable Form Factor:

* + - * Develop the device into a wearable form, such as a wristband or smartwatch, for continuous and convenient monitoring.

### Remote Health Monitoring:

* + - * Enable remote monitoring capabilities for healthcare providers to track patients' health metrics in real-time.
      * Provide options for caregivers to receive alerts and updates about the health status of their loved ones.

### Battery Life Improvement:

* + - * Optimize the device to use less power, extending battery life and making it more practical for long-term use.

### User-Friendly Interface:

* + - * Enhance the user interface for easier interaction, making it more intuitive and accessible for all age groups.

### Data Security and Privacy:

* + - * Implement robust data encryption and security measures to protect users' personal health information.

### Community and Social Features:

* + - * Develop features that allow users to share their health data with friends or join support groups, fostering a sense of community and shared health goals.

# REFERENCES

1. S.H. Almotiri, M. A. Khan, and M. A. Alghamdi. Mobile health (m- health) system in the context of iot. In 2016 IEEE 4th International Conference on Future Internet of Things and Cloud Workshops (FiCloudW), pages 39–42, Aug 2016.
2. Gulraiz J. Joyia, Rao M. Liaqat, Aftab Farooq, and Saad Rehman, Internet of Medical Things (IOMT):Applications, Benefits and Future Challenges in Healthcare Domain, Journal of Communications Vol. 12, No. 4, April 2017.
3. Shubham Banka, Isha Madan and S.S. Saranya, Smart Healthcare Monitoring using IoT. International Journal of Applied Engineering Research ISSN 0973- 4562 Volume 13, Number 15, pp. 11984-11989, 2018.
4. K. Perumal, M. Manohar, A Survey on Internet of Things: Case Studies, Applications, and Future Directions, In Internet of Things: Novel Advances and Envisioned Applications, Springer International Publishing, (2017) 281-297.
5. S.M. Riazulislam, Daehankwak, M.H.K.M.H., Kwak, K.S.: The Internet of Things for Health Care: A Comprehensive Survey. In: IEEE Access (2015).
6. P. Rizwan, K. Suresh. Design and development of low investment smart hospital using Internet of things through innovative approaches, Biomedical Research. 28(11) (2017).
7. K.R. Darshan and K.R. Anandakumar, “A comprehensive review on usage of internet of things (IoT) in healthcare system,” in Proc. International Conference on Emerging Research in Electronics, Computer Science and Technology, 2015.
8. Internet of Things (IoT): Number of Connected Devices Worldwide From 2012 to 2020 (in billions). [Online]
9. P. Chavan, P. More, N. Thorat, S. Yewale, and P. Dhade, “ECG - Remote patient

monitoring using cloud computing,” Imperial Journal of Interdisciplinary Research,

vol. 2, no. 2, 2016.

1. International Journal of Electrical Engineering and Technology. ISSN 2249-3085 Volume 12, Number 1 (2022), pp. 49-54

**APPENDIX**

**CONNECTION TABLE**

|  |  |
| --- | --- |
| **Max 30100 sensor Pin** | **Arduino Uno Pin** |
| VIN | 3.3V |
| GND | GND |
| SCL | A5 |
| SDA | A4 |
| INT | NOT CONNECTED |

|  |  |
| --- | --- |
| **SDD 1306 OLED Display** | **Arduino Uno Pin** |
| GND | GND |
| VCC | 5V |
| D0 | A5(SCL) |
| D1 | A4(SDA) |
| RES | 9 |
| DC | 8 |
| CS | 10 |
| **Bluetooth HC-05** | **Arduino Uno Pin** |
| STATE | NOT CONNECTED |
| LEVEL 3.3V | NOT CONNECTED |
| RX | TX (Pin 1) |
| TX | RX (Pin 0) |
| GND | GND |
| 5V | 5V |
| EN | NOT CONNECTED |

**PROJECT CODE**

#include <Wire.h>

#include "MAX30100\_PulseOximeter.h"

#include "Wire.h"

#include "Adafruit\_GFX.h" #include "OakOLED.h"

#define REPORTING\_PERIOD\_MS 1000

OakOLED oled;

// PulseOximeter is the higher level interface to the sensor

// it offers:

// \* beat detection reporting

// \* heart rate calculation

// \* SpO2 (oxidation level) calculation PulseOximeter pox;

uint32\_t tsLastReport = 0;

const unsigned char bitmap [] PROGMEM=

{

0x00, 0x00, 0x00, 0x00, 0x01, 0x80, 0x18, 0x00, 0x0f, 0xe0, 0x7f, 0x00, 0x3f, 0xf9, 0xff, 0xc0,

0x7f, 0xf9, 0xff, 0xc0, 0x7f, 0xff, 0xff, 0xe0, 0x7f, 0xff, 0xff, 0xe0, 0xff, 0xff, 0xff, 0xf0, 0xff, 0xf7, 0xff, 0xf0, 0xff, 0xe7, 0xff, 0xf0, 0xff, 0xe7, 0xff, 0xf0, 0x7f, 0xdb, 0xff, 0xe0,

0x7f, 0x9b, 0xff, 0xe0, 0x00, 0x3b, 0xc0, 0x00, 0x3f, 0xf9, 0x9f, 0xc0, 0x3f, 0xfd, 0xbf, 0xc0, 0x1f, 0xfd, 0xbf, 0x80, 0x0f, 0xfd, 0x7f, 0x00, 0x07, 0xfe, 0x7e, 0x00, 0x03, 0xfe, 0xfc, 0x00, 0x01, 0xff, 0xf8, 0x00, 0x00, 0xff, 0xf0, 0x00, 0x00, 0x7f, 0xe0, 0x00, 0x00, 0x3f, 0xc0, 0x00, 0x00, 0x0f, 0x00, 0x00, 0x00, 0x06, 0x00, 0x00, 0x00, 0x00, 0x00, 0x00, 0x00, 0x00, 0x00,

0x00

// Callback (registered below) fired when a pulse is detected void onBeatDetected()

{

Serial.println("Beat!");

oled.drawBitmap( 60, 20, bitmap, 28, 28, 1); oled.display();

}

void setup()

{

Serial.begin(9600);

oled.begin(); oled.clearDisplay(); oled.setTextSize(1); oled.setTextColor(1); oled.setCursor(0, 0);

oled.println("Initializing pulse oximeter.."); oled.display();

Serial.print("Initializing pulse oximeter..");

// Initialize the PulseOximeter instance

// Failures are generally due to an improper I2C wiring, missing power supply

// or wrong target chip if (!pox.begin()) {

Serial.println("FAILED"); oled.clearDisplay(); oled.setTextSize(1); oled.setTextColor(1);

oled.setCursor(0, 0); oled.println("FAILED"); oled.display();

for(;;);

} else { oled.clearDisplay(); oled.setTextSize(1); oled.setTextColor(1); oled.setCursor(0, 0);

oled.println("SUCCESS"); oled.display(); Serial.println("SUCCESS");

}

// The default current for the IR LED is 50mA and it could be changed

// by uncommenting the following line. Check MAX30100\_Registers.h for all the

// available options.

// pox.setIRLedCurrent(MAX30100\_LED\_CURR\_7\_6MA);

// Register a callback for the beat detection pox.setOnBeatDetectedCallback(onBeatDetected);

}

void loop()

{

// Make sure to call update as fast as possible pox.update();

// Asynchronously dump heart rate and oxidation levels to the serial

// For both, a value of 0 means "invalid"

if (millis() - tsLastReport > REPORTING\_PERIOD\_MS) { Serial.print("Heart Bpm"); Serial.print(pox.getHeartRate());

Serial.print(" ");

Serial.print("Oxygen percent"); Serial.print(pox.getSpO2()); Serial.println("\n"); oled.clearDisplay(); oled.setTextSize(1);

oled.setTextColor(1); oled.setCursor(0,16); oled.println(pox.getHeartRate());

oled.setTextSize(1); oled.setTextColor(1); oled.setCursor(0, 0); oled.println("Heart Bpm");

oled.setTextSize(1); oled.setTextColor(1); oled.setCursor(0, 30); oled.println("Spo2");

oled.setTextSize(1); oled.setTextColor(1); oled.setCursor(0,45); oled.println(pox.getSpO2()); oled.display();

tsLastReport = millis();

}

}